ATIS-0300011

Next Generation Interconnection Interoperability (NGIIF) Reference Document

Part III, Installation and Maintenance Responsibilities for SS7 Links and Trunks

Version 12.0

ATIS is the leading technical planning and standards development organization committed to the rapid development of global, market-driven standards for the information, entertainment and communications industry.  More than 250 companies actively formulate standards in ATIS’ 20 Committees, covering issues including:  IPTV, Service Oriented Networks, Home Networking, Energy Efficiency, IP-Based and Wireless Technologies, Quality of Service, Billing and Operational Support.  In addition, numerous Incubators, Focus and Exploratory Groups address emerging industry priorities including “Green”, IP Downloadable Security, Next Generation Carrier Interconnect, IPv6 and Convergence.

Notice

This document was developed by the Alliance for Telecommunications Industry Solutions’ (ATIS) sponsored Next Generation Interconnection Interoperability Forum (NGIIF).  The NGIIF addresses next-generation network interconnection and interoperability issues associated with emerging technologies. Specifically, it develops operational procedures which involve the network aspects of architecture, disaster preparedness, installation, maintenance, management, reliability, routing, security, and testing between network operators. In addition, the NGIIF addresses issues which impact the interconnection of existing and next generation networks and facilitate the transition to emerging technologies. All changes to this document shall be made through the NGIIF issue resolution process

Note Regarding Previous Versions

The NIIF Reference Document was formerly known as the Network Operations Forum (NOF) Reference Document.  The NOF Reference Document was published and maintained by Bellcore.  The last version of the NOF Reference Document is Issue 13.

Disclaimer and Limitation of Liability

The information provided in this document is directed solely to professionals who have the appropriate degree of experience to understand and interpret its contents in accordance with generally accepted engineering or other professional standards and applicable regulations.  No recommendation as to products or vendors is made or should be implied.

NO REPRESENTATION OR WARRANTY IS MADE THAT THE INFORMATION IS TECHNICALLY ACCURATE OR SUFFICIENT OR CONFORMS TO ANY STATUTE, GOVERNMENTAL RULE OR REGULATION, AND FURTHER NO REPRESENTATION OR WARRANTY IS MADE OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE OR AGAINST INFRINGEMENT OF INTELLECTUAL PROPERTY RIGHTS.  ATIS SHALL NOT BE LIABLE, BEYOND THE AMOUNT OF ANY SUM RECEIVED IN PAYMENT BY ATIS FOR THIS DOCUMENT, WITH RESPECT TO ANY CLAIM, AND IN NO EVENT SHALL ATIS BE LIABLE FOR LOST PROFITS OR OTHER INCIDENTAL OR CONSEQUENTIAL DAMAGES.  ATIS EXPRESSLY ADVISES THAT ANY AND ALL USE OF OR RELIANCE UPON THE INFORMATION PROVIDED IN THIS DOCUMENT IS AT THE RISK OF THE USER.

ATIS-0300011, NGIIF Reference Document, Part III, Installation and Maintenance Responsibilities for SS7 Links and Trunks, Formerly NIIF 5018

The NGIIF Reference Document, Part III, Installation and Maintenance Responsibilities for SS7 Links and Trunks is an ATIS standard developed by the NGIIF..

Published by

Alliance for Telecommunications Industry Solutions

1200 G Street, NW, Suite 500

Washington, DC 20005

Copyright © 2011 by Alliance for Telecommunications Industry Solutions

All rights reserved.

No part of this publication may be reproduced in any form, in an electronic retrieval system or otherwise, without the prior written permission of the publisher. For information contact ATIS at 202.628.6380. ATIS is online at < http://www.atis.org >.

Printed in the United States of America.

INSTALLATION, TESTING & MAINTENANCE RESPONSIBILITIES FOR SS7 LINKS AND TRUNKS

Table of Contents

1	GENERAL	4

2	LINK RESPONSIBILITIES	5

2.1	SS7 Link Control	5

2.2	Access Service Customer (ASC)	5

2.3	Access Service Provider (ASP)	6

2.4	LINK DEFINITIONS	7

2.5	Link Augmentation	7

2.6	Diversity	7

2.7	Catastrophic SS7 Network Failures	10

3	LINK INSTALLATION	10

3.1	Signaling Point of Interconnection (SPOI)	10

3.2	Pre-service Testing	10

3.3	Acceptance Tests For SS7 Link Circuits	10

3.4	ASP Prove In Period	10

3.5	Synchronization	10

3.6	Compatibility Testing	11

3.7	Test Severity Analysis Criteria - Part III (Attachment D)	12

3.8	Completions	12

3.9	Rearrangements	12

3.10	Timer Values	12

4	LINK MAINTENANCE	12

4.2	Trouble Reporting	13

4.3	Sectionalization and Repair	13

4.4	Maintenance of SS7 Links Within a Higher Rate Facility	13

4.5	Trouble Clearance	13

4.6	ASP Node To ASC Node Interconnect Testing And Analysis	14

5	TRUNK RESPONSIBILITIES	14

5.1	Access Service Customer ASC/ASP	14

5.2	Conversion of Multi-frequency Trunks to SS7	14

5.3	Trunk Circuit Identification Code (TCIC)	19

5.4	Trunk Circuit Identification Code (TCIC) Numbering Plan	19

5.5	Tones and Announcements	19

5.6	Trouble Report Disposition	20

6	TRUNK INSTALLATION	20

6.1	Point of Presence (POP) Serving Multiple Switches	20

7	TRUNK TROUBLE DETECTION RESPONSIBILITIES	20

8	SCREENING AND TRANSLATIONS	21

8.1	Final Global Title Translations (FGTT)	21

8.2	Translation Types	21

8.3	TCAP Transaction Looping	22

9	Rules for Populating JIP	22

10	SS7 NETWORK SECURITY BASE GUIDELINES	23

11	SS7 SOFTWARE VALIDATION	23

12	DUAL STP FAILURE PREVENTION PROCEDURES	23

13	COMBINED NODE - MINIMUM SET OF GUIDELINES	24

13.1	Architecture	24

13.2	Routing And Configuration	25

13.3	Network Management	25

13.4	Diversity	25

13.5	Testing	26

# GENERAL

This document outlines Access Service Customer (ASC) and Access Service Provider (ASP) responsibilities for the Signaling System 7 (SS7) interface between carriers. It deals with the physical interconnecting trunks and link(s) as well as the software necessary to support the use of the link(s) to transport SS7 messages between carriers. It is intended to be a living document to aid operations work forces. It does not replace or supersede Tariffs, Contracts or any other legally binding documents. It is limited to procedures relating to the installation and maintenance of the SS7 trunks and link(s) and associated software used to interconnect and provide services between Interexchange and Access Service Providers. All networks which connect to ASCs and ASPs via SS7, should be expected to recognize these operational guidelines, as providers of public switched services regardless of whether or not they provide Public Switched Telephone Network services. For the purpose of this document, the terms, SS7 and CCS are interchangeable.

The ASC, for the purposes of this document, is defined as the Interexchange Customer engaged for hire between two or more exchanges, including interstate or foreign communication by wire or radio.

The ASP, for purposes of this document, denotes a company engaged in the business of furnishing access service in a franchised territory.

The Wireless Service Provider (WSP), for the purposes of this document, is defined as those carriers engaged in Intra/Interstate communication via radio frequency.

Local Service Provider (LSP) is defined as the Local Exchange Carrier (LEC) selling local interconnection service arrangement trunk(s) to another LEC.

Local Service Customer (LSC) is defined as the LEC purchasing local interconnection service arrangement trunk(s) from another LEC.

Where ASP/ASC interconnection statements are made or identified, specific to their purpose, WSP/LSP/LSC may be substituted as appropriate.

In addition to other operational and technical agreements made at the Next Generation Interconnection Interoperability Forum, this document is being reissued to incorporate the following changes:

- Standardization of the Issue Number and publication date to agree with other sections of the NGIIF Reference Document.

- Addition of a new Part III Attachment G - titled SS7 Diversity Validation Guidelines

- Addition of new document Part III Attachment H - titled “SS7 Cause Codes & Tones and Announcements.”

The SS7 link(s) may be considered as a network enhancement for certain existing services between Interexchange and Access Service Providers as well as providing a transport to new services.

The term node is used in this document to mean any SS7 capable network element without regard to its specific function i.e. Signal Transfer Point (STP), Signal Point (SP), Service Switching Point (SSP), Service Control Point (SCP).

The software resident programs, in both ASP and ASC interconnecting nodes for the purpose of providing services transported on SS7 link(s), will be referred to as applications.

The NGIIF has developed the following guidelines outlining the medium by which internetwork affecting maintenance activity notification will be provided to the interconnected company and the time frame prior to the planned activity:

- Notification when possible should be made at least 5 working days prior to the planned change activity.

- Notification should be made in the form of:

  - E-Mail (recommended where available),

  - FAX or,

  - Telephone call.

- Notification should be provided to the affected company’s appropriate notification center.  Contact information is included in the NGIIF Service Provider Contact Directory.  An example of a notification form is located in the NM Section, Part VI, of the NGIIF Reference Document.

When network modifications are planned to any SS7 network element that has the potential of affecting traffic, the ASP/ASC must notify the interconnecting carrier(s) of the planned change. Sufficient information should be exchanged to ensure that all parties understand:

Affected Network Element

- Date and time of change

- Expected duration

- Traffic effect during change

- Potential hazards

Compatibility test requirements and procedures should be considered.

The need exists to install and maintain time of day clock settings to coordinated universal time standards for SS7 network elements. In the absence of automated clock update standards and systems, it  will be necessary to manually install and maintain time of day clock settings, as follows:

- Internal Network Element (NE) clocks set to + or - 15 seconds from the Coordinated Universal Time (UTC) minute register would degrade service.

- Daily routine to check NE clock (e.g., 8 am) to UTC.

- Weekly routine to check clock source to National Institute of Science and Technology (NIST), e.g., WWV, Naval Observatory. etc., to nearest second + or - 1 seconds.

- Upon initialization of NE (boot) there is a need to load time of day, otherwise NE sets to 0000 hours 1/1/00 - (operationally sensitive.)

# LINK RESPONSIBILITIES

## SS7 Link Control

The ASC will have overall responsibility for the installation and maintenance of the SS7 link(s). The designation of an ASC as having overall responsibility does not relieve the ASP of the responsibility for taking prompt appropriate actions needed to correct an identified failure condition. The ASPs and ASCs are responsible for the portion of an SS7 link, which they maintain.

The ASP is responsible for ensuring that its portion of the SS7 link(s) provided to the ASC are installed and functioning properly. In addition, the ASP should work cooperatively with the ASC to perform SS7 protocol tests to ensure the ability of the interfaces to correctly transmit and respond to SS7 messages being passed between carriers.

## Access Service Customer (ASC)

The following are the responsibilities of the ASC:

Provides trained personnel

- Designates a Control office(s) for the overall responsibility for SS7 link(s).

- Cooperates with the ASP to ensure that the SS7 link(s) are installed in accordance with the ASCs service request.

- Notifies the appropriate ASP Interexchange Customer Service Center (ICSC or equivalent) when the service due date is to be changed.

- Sectionalizes troubles to determine if the trouble is located in its facility, interface, or application or if the trouble is in the ASP facility, interface, or application.

- Ensures that any manually initiated tests performed on the SS7 link(s) or applications will not negatively affect the ASPs SS7 network.

- Coordinates any changes to its translations which may require changes to the ASPs translations.

- Cooperatively participate with the ASP to further identify, isolate and clear troubles which cannot be sectionalized into the ASP or ASC portion of the link or application software.

- Provides a trouble reporting number(s) that is readily accessible 24 hours, 7 days a week.

- Accepts and refer trouble reports from the ASP relating to SS7 and the services being provided over the link(s).

- Provides the ASP Notification of Maintenance Releases

- Overall coordination of control responsibilities

  - Tracking of orders

  - Coordination of testing

  - Coordination of link specific maintenance releases

  - Referral to appropriate groups for repair

  - Establishing of interface agreements

  - Responsibility for trouble agreements

  - Link(s) surveillance

Maintains complete and accurate installation and repair records

## Access Service Provider (ASP)

The following are the responsibilities of the ASP:

- Provides trained personnel

- Designates Control Office for the ASP portion of the SS7 link(s) provided for the ASC interconnection.

- Cooperates with the ASC to ensure that the SS7 interconnection is installed and functioning properly.

- Notifies the ASC of due date jeopardy in a timely manner.

- Sectionalizes troubles to determine if the trouble is located in its facility, interface, or application or if the trouble is in the ASC facility, interface, or application.

- Ensures that any manually initiated tests performed on the SS7 link(s) or applications will not negatively affect the ASC's SS7 network.

- Coordinates any changes to its translations which may require changes to the ASC's translations.

- Cooperatively participates with the ASC to further identify, isolate and clear troubles which cannot be sectionalized into the ASP or ASC portion of the link or application software.

- Provides a trouble reporting number that is readily accessible 24 hours, 7 days a week.

- Accepts and refers trouble reports from the ASC relating to SS7 and the services being provided over the link(s).

- Provides the ASC with notification of maintenance releases.

- Maintains complete and accurate installation and repair records.

## LINK DEFINITIONS

A-Link - Access Links connecting a switching point or a database to its home Signal Transfer Point (STP).

B-Link - Bridge Links interconnecting STP pairs of the same hierarchical level within the same network.

C-Links - Cross Links connecting mates of an STP pair in the same network

D-Links - Diagonal Links  1) connecting STP pairs between different networks or

2) connecting STP pairs of different hierarchical levels within the same network.

E-Links - Extension Links connecting a Signaling Point (SP) to an STP pair other than its home STP pair.

F-Links - Fully associated Links directly connecting two switching points to one another or a switching point to a database node.

## Link Augmentation

The following thresholds are recommended for augmentation of existing SS7 linksets between interconnected companies:

### Warning Threshold

Linkset augmentation investigation/initiation should take place no later than when the linkset utilization reaches 25%.

### Critical Threshold

Linkset augmentation of the linkset should be completed before the linkset utilization reaches 32%.

## Diversity

Documentation pertaining to the Link Diversity Validation guidelines is covered in Part III Attachment G.

The following describes recommended criteria for Interconnecting Link diversity;

- The architecture with ASP STPs connected to ASC STPs (Figure 1) requires three-way physical diversity of CCS link facilities.

- The architecture with ASP STPs connected to ASC SPs (Figure 2) requires two-way physical diversity of CCS link facilities.

- Three-way physical diversity between ASP STPs and ASC STPs means that no two failures should simultaneously disable all three physical diverse link sets between ASP STPs and ASC STPs (see Ex. Figure 1).

- Two-way physical diversity between ASP STPs and ASC SPs means that no single failure should simultaneously disable both two physically diverse link sets between ASP STPs and ASC SPs (see Ex. Figure 2).

Figure 1 - STP to STP Interface (Example)

STP LINK CONFIGULATION

B LINKS

C LINKS

D LINKS

Figure 2 - STP to SP Interface (Example)

In general, n-way diversity between two portions of a network connected by multiple link sets means that no instance of (n-l) or less simultaneous failures will cause there to be no available link set between the two portions.

To avoid common cause failures (i.e., single failures that disable more than one link set), ideally link sets should not share common resources (e.g., electronic equipment), and wherever possible, should be physically separated.

### Other Considerations

CCS/SS7 route diversity, which assumes a network architecture that encompasses interconnecting mated STPs, is defined as signaling link sets that are on physically and electrically separate routes; exceptions to this guideline may apply to building entrances, circuit distribution frames, power plants and some remote signaling points.

### A-Link Concentrators for Local Service Providers (LSPs)

LSCs/LSPs using A-Link Concentrators (ALCs) in their network are strongly encouraged to employ the mated pair architecture.  If the LSCs/LSPs elect to use other architectures (Stand-Alone or Dual Access) and full point code routing (non-cluster routing) is utilized, the maximum number of subtending SPs should be negotiated between the operator of the ALC and the operator of the STP to minimize network management messages.

### CCS Link Interconnectivity

Physical Link diversity is achieved first in the provisioning process and then maintained by operational procedures.  When SS7 link facilities are leased it is the responsibility of both the user and the provider(s) to validate diversity.  For example, if hypothetical company X leases SS7 link facilities from separate companies Y and Z, company X may assume the facilities, for the SS7 links, to be diverse per NGIIF recommendations.  However, company Z may also lease facilities from company Y, possibly resulting in company X’s SS7 link facilities not meeting NGIIF diversity validation recommendations.

### Provisioning

The provisioning process should take into account facility routing and equipment assignments such as:

- Cable routing

- Separate Equipment

- Powering and Fusing

- Building Entrance locations

- Distribution Frames

- Equipment Cable Racks

- Nailed Up Connections, e.g. Digital Cross Connect Equipment

### Maintenance

In order to maintain link diversity, operational procedures should address the following link set maintenance considerations;

- Notification of ASC and ASP Centers.

- Determination of the status of all links in the combined link set.

- Expeditious return of the repaired/operational link to service.

Once diversity is designed into a combined link set, the ASC/ASP should ensure that the diversity is maintained:

- Diversity on all link sets should be routinely confirmed following the procedures described in the Link Diversity Validation Guidelines document, Part III (Attachment G).

- Whenever maintenance or circuit order activity occurs on a link, or a failed link is restored, diversity on the combined link set should be confirmed following the procedures described in the Link Diversity Validation Guidelines document, Part III (Attachment G).

- At a minimum, validation of diversity on all interconnected links in all link sets should be performed at least once every six (6) months following the procedures described in the Link Diversity Validation Guidelines document, Part III (Attachment G).

## Catastrophic SS7 Network Failures

Each ASP/ASC is responsible for providing a point of contact. Contact numbers should be non toll free numbers and associated with the organization responsible for handling SS7 Catastrophic Network Failure reports. A contact list for SS7 Catastrophic failures is available in the NGIIF Service Provider Contact Directory.

# LINK INSTALLATION

During the installation period, all inquiries will be referenced by the ASP Service Order number and circuit identification.

## Signaling Point of Interconnection (SPOI)

Signaling Point of Interconnection is a physical location on SS7 links, where the ASP and ASC exchange SS7 messages. The SPOI location may be provisioned at the POT for testing of links with a theoretical point of physical demarcation, be co-located with a POT, or remotely located from present POT locations. Diversity requirements for Signaling Links should be considered in developing SPOI locations.

## Pre-service Testing

Each company is responsible for that portion of the overall SS7 link(s) circuit they are providing.

Each company must ensure that their link segments have been installed correctly, prior to cooperative acceptance testing.

## Acceptance Tests For SS7 Link Circuits

Link circuits that are being installed, as a facility should first be tested at Level 1.

The recommended tests for DS-1 acceptance testing is documented in,  PART IX, Section 5F;  Acceptance of DS-1.

When such testing meets the parameters for acceptance of the DS-1 facility, the recommended tests to ensure compatibility of the DS-1 to pass MTP Levels 2 & 3, is documented in,  PART III, Attachment A;  MTP Compatibility Tests,  (Levels 2 $ 3)

## ASP Prove In Period

A prove in period, not to exceed seven (7) days is recommended, subject to the bilateral agreement of the Service Providers. The 24 hour SP to SP Acceptance limits should not be exceeded in any 24 hour interval during the prove in period.

## Synchronization

Improper synchronization can result in circuit impairments which should be investigated and synchronization problems corrected. Problems that cannot be resolved, should be referred to your Synchronization Coordinator. Companies’ Synchronization Coordinators are listed in the NGIIF Service Provider Contact Directory, which is available from the NGIIF.

If the ASC/ASP has its own primary frequency standard that meets the CCITT standard for national networks (G.811, G.822), synchronization of the digital SS7 link(s) will be by the plesiochronous method of operation. If either network does not conform to the CCITT standard, the non-conforming company will use loop timing to accept SS7 link(s) timing from the conforming company. When the link interface is a DSOA interface, the interface must be plesiochronous or timed to the same source as the facility.

## Compatibility Testing

### SS7 Inter-Network Testing

SS7 Inter-Network trunk signalling testing is a pre-cutover requirement.

The following tests, MTP, ISUP and SCCP compatibility tests, are recommended to verify the compatibility of networks during interconnection. These tests are intended to be used as a recommended set of minimum tests of the SS7 protocol.

It is assumed that the two (2) interconnecting networks may have some additional tests they may wish to perform during interconnection. In this case, these tests should be part of the bilateral agreements developed for SS7 network interconnections.

Network compatibility testing verifies the correct interworking of two SS7 implementations. The tests are written for the interconnection of two given implementations.

The full test suite of all recommended tests should be run between the two interconnecting companies for any interconnection configuration that was not previously tested. Both the manufacturer model and software load of the interconnecting signaling network elements defines the interconnection configuration. Subsequent interconnections, using configurations previously tested by the two interconnecting companies, may be tested at their discretion.

The tests in this document have been divided into Intrusive Tests and Non-Intrusive Tests and defined as follows:

- Intrusive Tests - The interconnecting circuit shall be interrupted, with the testing unit inserted into the circuit and acting as an emulator to the signaling point under test.

- Non-Intrusive Tests - The test shall be able to observe traffic traversing the link(s) between the two (2) signaling points, in a monitor mode.

### Message Transfer Part (MTP) Compatibility Tests - Part III (Attachment A)

The minimum set of MTP level 1,2, and 3, protocol compatibility tests are required for switches between interconnecting (ASP/ASC) networks in support of SS7 link interconnection.

### ISDN User Part (ISUP) Compatibility Tests – Part III (Attachment B)

The minimum set of ISUP protocol compatibility tests are required for switches between interconnecting (ASP/ASC) networks implementing ISUP trunk interconnection.

Signaling Connection Control Part (SCCP) Compatibility Tests-Part III (Attachment C)

The minimum set of SCCP tests are required for switches between interconnecting (ASP/ASC) networks implementing Toll Free Database and LIDB interconnecting services. Prior to the initiation of any testing, bilateral agreements will need to be reached defining entries to the Gateway screening, routing and global title tables required to support the testing.

## Test Severity Analysis Criteria - Part III (Attachment D)

The Test Severity Analysis Criteria describes the potential impact of performing these compatibility tests on the network.

## Completions

After performance of the link(s) circuit acceptance tests and alignment of the link(s) by the SS7 protocol, the control office should report the order as completed. The acceptance of Level 1, 2, 3 tests would constitute a link in service.

## Rearrangements

The ASP or ASC will coordinate rearrangements not resulting in a change of operation or design. Removal from service, rearrangement timing and completion testing will be negotiated on an individual basis. Upon completion of the rearrangement, sufficient cooperative testing should be performed to ensure the proper operation of the service.

## Timer Values

ASC and ASPs need to exchange T2 timer settings prior to interconnection.

# LINK MAINTENANCE

The ASC is responsible for performing the necessary tests and performance monitoring to determine the nature of the SS7 link (s) trouble. Cooperative testing and Performance Monitoring may be required to identify troubles that are not associated with the physical circuit transport.  If the trouble is found to be in the ASP/ASC provided portion of the link (s), the ASP/ASC will report the trouble to the appropriate ASP/ASC control office or the designated trouble reporting office. These links are to be treated as Order Wires for restoration priority purposes. Restoration of these links is to be pre-planned, through bilateral agreements.

### Routine Maintenance Activities

- It is the recommendation of the NGIIF that all routine maintenance and scheduled work activities be performed during hours of minimum traffic (e.g., during an 11:00 pm to 5:00 am "maintenance window") so that any inadvertent failure impacts the least number of customers.

- At a minimum, high risk, potentially service affecting maintenance and growth procedures should be scheduled during weekend and off-hours. The overall methods, procedures and scheduling of these work activities should be reviewed by a second tier maintenance organization.

- The activities that may affect other network service providers must be coordinated, which includes both intra- and inter-carrier networks.

### Non Scheduled Work Activity

- If customer service is being impacted, the minimum work activity will occur to restore the system to a stable performance state.  Complete system recovery activity will be scheduled for the next maintenance window period.

## Trouble Reporting

The following types of information should be exchanged at the time of the trouble referral.

- Circuit identification number [ASP circuit identification 41 Character Common Language (CLCI)] for circuit specific troubles.

- Date and Time of referral

- Nature of the trouble and any other information that may be of assistance in resolving the trouble.

- The name or initials and telephone number of the person referring the trouble.

- Trouble ticket number(s) or equivalent and the name or initials of the person accepting the trouble. Identify trouble report as a link.   SS7 Link "Circuit Specific" troubles will be reported to the control office.

- The ASCs/ASPs will provide specific contact numbers for the control offices or other designated report centers. This information is conveyed through the Ordering process.

- SS7 Link "Non Circuit Specific" troubles (e.g. Data Base, Point Code) will be reported to the appropriate Network Service Center (NSC) or equivalent center.

- The ASCs/ASPs will provide a contact NSC or equivalent center number.

## Sectionalization and Repair

While link facility sectionalization is the responsibility of the ASC, it could involve cooperative testing with the participation of both ASC and ASP.

The ASP/ASC employees will limit their repair activities to their respective facilities and/or equipment.

## Maintenance of SS7 Links Within a Higher Rate Facility

When a SS7 link fails because of a failure in higher rate facility e.g. DS1, DS3, etc., the ASP or ASC receiving the alarm should notify the other party of the expected impact on the SS7 interconnection. Maintenance of the higher rate facility will be in accordance with existing procedures.

## Trouble Clearance

After a link trouble has been cleared the ASP/ASC shall contact the other to advise that the trouble has been cleared, the nature of the trouble found and the action taken.

### Trouble Report Status

- The Access Service Customer/Access Service Provider receiving the initial trouble referral shall provide a status on the disposition of that referral based on local agreements negotiated at the time of referral or requested on an individual case basis.

- Subsequent to the initial status report on the disposition of the trouble report periodic status’s shall occur based on the following criteria:

- When the trouble has been isolated

- When there is a significant change in the status of the trouble.

- The negotiated status interval has expired.

- Where mechanized trouble notification is utilized the receiving company shall status their appropriate systems based on paragraphs A and B, in addition it shall be the responsibility of the company issuing the trouble report to poll the mechanized status system for the status of the trouble report.

- Escalations if necessary shall be in accordance with identified procedures.

When a SS7 link(s) trouble has been cleared, the link(s) may or may not be automatically restored to service. If manual intervention is necessary on the part of the ASP/ASC or both, it should be coordinated by both parties. Each party will verify that the affected link(s) have been restored and are carrying traffic. If the link(s) fail to align or to carry traffic, the parties will continue the maintenance effort until the problem is resolved.

When trouble reports are being closed out between an Access Service Provider/Access Service Customer, whether they are using a mechanized system or a verbal notification, the disposition should be furnished by the company clearing the trouble, and the following information shall be provided:

The ASC and/or ASP should agree to provide the following information when closing a mutual trouble report:

- Circuit ID/telephone number

- Trouble Report Number (ASC/ASP number)

- Trouble Disposition (e.g., bad cable)

- Resolution details (e.g., cut to new cable)

- ASC will inform ASP if this trouble is measured.

- Referral time, returned time, No Access Time.

- If trouble report results in a service charge, the ASP will provide this info to the ASC

When there is a disagreement on the disposition, the parties engaged in the dispute shall document their respective positions, and the names of the individuals engaged in the dispute for audit purposes.  Escalations if necessary shall be in accordance with identified procedures.

If after a trouble has been cleared and either the ASP or ASC wishes to change the Disposition, such changes shall be negotiated.

## ASP Node To ASC Node Interconnect Testing And Analysis

The SS7 link(s) between an ASP and ASC are network to network interconnections. Trouble conditions may be experienced that cannot be resolved by each carrier testing and maintaining its own portion of the link(s). Some conditions may only be apparent to either the ASP or the ASC and require cooperative analysis of each others trouble indications or other data to sectionalize troubles. While it is the responsibility of the ASC to coordinate such activity, the ASP has the responsibility to notify the ASC of problems which may not be apparent to the ASC.

# TRUNK RESPONSIBILITIES

## Access Service Customer ASC/ASP

(See NGIIF Reference Document, Part II, Installation and Maintenance Responsibilities Switched Access Services Feature Groups B, C, and D).

## Conversion of Multi-frequency Trunks to SS7

Conversion from in-band signaling to SS7 cannot be accomplished without a thoroughly planned process. The ASP/ASC implementation team should meet to discuss and identify all of the steps necessary for a successful trunk conversion. Each ASP/ASC should establish a Cutover Committee consisting of permanent members from the Ordering, Provisioning, Engineering, Operations, SS7 Control Center and Billing disciplines. Account Representation for the ASC desiring interconnect may also be present when appropriate. The responsibility of the committee is to ensure a smooth conversion through scheduling and addressing, at a minimum, the concerns listed below. The following guidelines are offered as a starting point for discussion between an ASC and the ASP. They are not all inclusive.

### TIME OF THE CONVERSION

On what day will the actual conversion start? What time during the day will it take place? If it is out of hours, there may be expense related concerns of work force adjustments. Times may have to be correlated with traffic volumes dependent upon trunk capacity.

### TRUNK OPERATIONS TEST

Is this the first time a specific configuration (End Office Switch-Access  Tandem-ASC Switch) has been tested? If so, a comprehensive test plan is suggested. If not, a substantially abbreviated test procedure may be appropriate. Will transmission test be performed?

### TRANSITION TRUNK REQUIREMENTS

Will a transition trunk group need to be built? It should also be determined how the trunks will be converted with minimal service interruption. One method is to create a new trunk group for the SS7 trunks and overflow the MF trunk group to the SS7 group (or vice versa). Converting in this manner allows all trunks to be in service with the exception of those which are actively in the conversion process.

### MAXIMUM NUMBER OF TRUNKS FOR CONVERSION

During that time that the trunks are actually being converted, they will be out of service. It must be determined how many trunks can be removed from service without adversely affecting traffic. Dependencies are the size of the trunk group, spare capacity and the time of conversion. Specific identification of trunks must be coordinate between the companies to ensure that both companies are converting the same trunks at the same time.

### MANUAL VS AUTOMATIC

Will the ASP/ASC be using a mechanized procedure for converting the trunks? This information may be useful in scheduling the work.

### FACILITIES CHANGES

It is not anticipated that there will be facility changes associated with the conversion of trunks. If they are required, the information should be conveyed at the preconversion meeting.

### EQUIPMENT CHANGES

Most trunk equipment used for in band signaling should also work with SS7. However, some manufacturers may have designed their trunk equipment to work properly in the off-hook state only. This equipment, when used for SS7, would provide degraded transmission since, in relation to E&M signaling, the circuit will always be on-hook.

### SWITCH TYPES

The switch types involved in the conversion should be identified to address special needs of specific switches. For example, a switch may require that the Trunk Circuit Identification Code (TCIC) and the trunk number be of the same value. Identification of the switches will also allow the companies to determine the extent of testing that will take place (see TRUNK OPERATIONS TEST above).

### NMC NOTIFICATION

The NMC should be notified of the conversion to enable the center to monitor the trunk group, especially during the time of conversion/reduced capacity. The NMC may also be able to inform the Conversion Team of any special calling events (mass calling) which may be occurring at the time of the conversion.

### SCHEDULE

As offices become equipped for Common Control Switching Access Capability (CCSAC), it is likely that more than one ASC will want to interconnect with a specific end office. The scheduling of conversions must be coordinated by the ASP, with individual ASCs, and agreed to by the involved companies.

### TIMER VALUES

The ASC and ASP switches and STPs have many timers associated with link operation and call setup. Since only parameters and not the actual values are stated in technical references, it is likely that the ASC and the ASP will have different time settings for the same timer. Although there is no requirement that the value of specific timers be the same (see note) in both companies, the sharing of the values will provide each company with additional information for trouble resolution.

Note: The T2 Link Timer is the only known exception and must have different values at each end.

To ensure network integrity and reliability, SS7 Timer settings (MTP Level 2 and Level 3, ISUP and SCCP) should be exchanged at time of interconnection negotiation.

### POINT CODES

If an ASC/ASP is contemplating interconnecting, it is essential that point code range information be known well in advance to enable the control center to update the STP during the scheduled split mode operation. Point codes include those of the STP, the interconnecting switches and any alias point codes.

### RCT (Route-Set-Congestion Test) METHODOLOGIES

It is recommended by the NGIIF that interconnected networks adopt the practice of responding to TFC (Transfer Controlled) messages by assigning RCT (Route-Set-Congestion test) messages using  SLS (Signaling Link Selection) codes that ensure an equal distribution on all the links in the linkset (combined). Prior to CCS interconnection the interconnecting companies should exchange RCT methodologies.

### TRUNK CONFIGURATION

Using In Band signaling, it is possible for an ASC to have one large trunk group from the ASP to the POP and then split the facilities to several different switches on their side of the POP. In this arrangement, the ASP routes all traffic to the single trunk group and the ASC splits it according to their needs. This same configuration will not work using SS7 unless the trunk group is split on the ASP side of the POP as well. It is necessary to split the trunk group because in the SS7 environment, traffic is routed between switches and not between a POP and a switch. One method of accommodating an ASC with this situation, would be to split the trunk groups between switches and then first route all traffic to one of the groups. That trunk group could then route advance to another. The ASC would be able to balance loads between switches through proper sizing of the trunk groups. At the conversion meeting it should be determined if this situation exists and if it does, how it will be handled. How will traffic be routed to the separate trunk groups? What are the switched nomenclature? Will the trunk groups have to be resized/rearranged? Will the trunk groups be rearranged, prior to SS7 conversion?

As a result of technological changes in the network due to the implementation of SS7 there has been an increase in short duration calling patterns (Abandoned Calls) in an Interworking environment. Therefore it is the recommendation of the NGIIF that the following actions take place where interworking is encountered between interconnected carriers. Where appropriate to reconcile the situation:

All Service Providers having switches with:

- TCRA Timer should be in compliance with ANSI (T1.113 Issue 3) which recommends a setting of twenty (20) seconds.

- Inter Stage Timer (IST)* should be set at fifteen (15) seconds.

- Partial Signal Partial Dial (PSPD) Timer should be set at a minimum of twenty (20) seconds and at a maximum of thirty (30) seconds.

### FREQUENCY OF CONTINUITY TESTS

When In Band signaling is used, continuity of the trunk selected is assured by call setup. Continuity testing is also available on SS7 trunks. The switch will automatically send, receive and measure tones placed on the trunk prior to setting up a call. The switch will perform continuity on a circuit at a variable rate of 1 out of n times where n has a value of 1 to 16. It is this information (the value of n) which should be exchanged with the ASC. The NGIIF has agreed to perform continuity operation tests, at a minimum rate of (1) one out of (8) eight.

NOTE: Where technology does not exist to facilitate meeting the above criteria, local negotiations should take place.

### 2-WIRE CONTINUITY CHECK EMULATION ON A 4-WIRE SWITCH

An exchange terminating a 4-wire circuit is recommended to provide an additional procedure using two tone continuity check procedures.  Optionally, by agreement between connecting 4-wire exchanges, either:

- Both exchanges emulate 2-wire exchanges in the continuity check procedure of Section B.2 (Continuity-check for 2-wire speech circuits) of  T1.113.4.  Note, this requires an equipment upgrade of both exchanges to detect 1780 Hz tone.

- One of the exchanges terminating a 4-wire circuit may emulate operation of a 2-wire exchange in the continuity check procedure in Section B.3 (continuity-check between a 2-wire and 4-wire exchange) of T1.113.4, while the far end exchange must furnish 4-wire to 2-wire procedure.  Note, in this case, only one exchange requires an equipment upgrade, however, there is increased administration requirement to ensure correct 4-wire/2-wire configuration.

The use of two tone continuity check procedures will allow detection of inadvertent loops in the trunk facility between exchanges that terminate 4-wire circuits because different frequencies are transmitted and received.

### DIVERSITY ARRANGEMENTS

The ASP/ASC should exchange link diversity arrangements (Planned and Current).

### NEW PARAMETERS

Companies who have completed SS7 interconnection and acquire customers with ISDN capabilities have a need and responsibility to communicate to their interconnected network providers the passage of such parameters.

3.1 KHz audio and speech should be passed by all interconnecting SS7 partners.  Where known non-conformances exist, dialogue needs to take place.

Per local negotiations, all interconnecting companies utilizing ACC should acknowledge and respond when an ACC message is received.

Interconnecting parties should exchange the initial value of the Hop Counter at the time of negotiation for interconnection and as changes are anticipated/made in signaling between the two networks.

If no hop counter is received with the incoming IAM, then if the hop counter capability is active, a non-forwarding transit exchange should include the hop counter parameter in the outgoing Initial Address Message.  For technologies where the hop counter cannot be set on a per call type basis and for non-ETS calls, the network operator should set the initial count value within a range between 15 and 20.  In addition, if the initial count value can be set by the network operator on a per-call type basis, then the initial count value for ETS calls should be the maximum value allowed in the exchange.

The value received should be accepted as a valid value, and the recipient switch should not reinitialize the Hop Counter.  For SIP-I, the I-IWU acting as an independent exchange should perform the normal BICC/ISUP Hop Counter procedure using the Hop Counter taken from the encapsulated IAM.

The NGIIF has looked at customer call forwarding/call looping issues and the related network parameters (such as the HOP counters, max forwards in an IP network, redirection information [RI], history information) which are available in either the TDM or IP networks. The current state of the implementation in the industry will not support a full resolution of problems induced by customer call forwarding using these capabilities; therefore, the NGIIF offers the following recommendations in addition to the recommendations listed above and located in the NGN document:

- Network providers should review the use of simultaneous call forwarding restrictions that limits the number of times calls can be forwarded through a single line.

- Service providers should review their services to determine whether they easily allow configurations that can generate call looping. For example, it might be desirable to design restrictions so that a customer can’t simultaneously forward their mobile calls to their land line at that same time their land line is forwarding calls to their mobile line.

### EMERGENCY COMMUNICATIONS

In the remote event that a total SS7 failure is experienced, some means of communication between personnel in interconnecting networks, may be required. The ASP/ASC should determine what emergency communications are already available and/or what alternative methods, if any, will be provided.

- It is recommended that all interconnecting networks (ICNs) and manufacturers interconnect via Public Packet Switched Network (PPSN), non PSN Access, as part of a Closed User Group, in support of and to provide backup of the voice emergency communications network. The PPSN is to be utilized as a backup to the PSN as part of the Emergency Communications System (ECS). Information to be communicated between entities should be identified and shared for ECS information. The following information was developed by the NGIIF and should be utilized, where possible:

  - Security Password: (Exchangeable)

  - Station Handshake: (ASCII Text)

  - To: (Addressee)

  - From: (Company who sent message)

  - Date: (Current Date)

  - Time: (Current Time)

  - Outage Date: (Outage Date)

  - Outage Time: (Outage Time)

  - Node Type: (STP,SCP,Etc.)

  - Location: (Office where incident occurred)

  - Point Code: (Point Code of Office)

  - Severity: (Isolation, Critical, Major, Minor, etc.)

  - Vendor:

  - Comments (if any)

  - End of Comments

  - END: (Identifies End of Message)

### LINK RESTORAL OBJECTIVE

### AVAILABLE OPTIONAL AUTOMATIC TESTING

Signaling Link Test Message (SLTM). Automatically run during link alignment. Not necessary for trunk conversion.

Circuit Validation Test Message (CVTM/CVR). Verifies that the translations at each end of the will select the same trunk. Essential for trunk conversion and should also be performed on a periodic basis.

## Trunk Circuit Identification Code (TCIC)

The ASC will administer/assign the Trunk Circuit Identification Codes (TCICs). Certain switches require that the Common Language Circuit Identifier (CLCI) trunk number equals the TCIC.

## Trunk Circuit Identification Code (TCIC) Numbering Plan

### Assignment Criteria

The (TCIC) assignment is a five (5) digit number. Numbers are right justified with leading zeros. The ten thousand digit should always be a zero, due to trunk number restrictions in some switches.

The five (5) digit numbers (00001 - 09996) should be broken down into sub-blocks of 96 numbers (i.e., 0001 - 00096, 00101 - 00196, etc.). Numbers ending in 97, 98, 99 and 00 will not be assigned, due to the limitations of some digital switches.

Sub-blocks of 96 will not be split between groups of trunks with the same customer Point Code and Exchange Company Point Code. This assures a group will always start with 1 and provides for consecutive numbering.

The smallest available will be selected for new groups or augments requiring an additional sub-block. Ascending order of assignments is required for minimizing memory loss in some machines.

TCIC assignments will not be duplicated on groups between the same point codes. A mechanized assignment process with edits is recommended to prevent dual assignments.

TCIC assignments will be provided on all add, change and disconnect Access Service Request (ASR) activity requests. TCIC numbers should be reused on coordinated disconnects and add activity to assure reassignment of the lower sub-blocks to minimize loss in some machines.

## Tones and Announcements

Where possible, based upon SS7 connectivity and interworking, the terminating ASP should release calls that have encountered network situations such as, reorder, vacant code, no circuit and line busy to the ASC, with a specific cause indication. The ASC, based upon agreements with the originating ASP, may either connect the call to a tone/announcement and subsequently release the call with a normal cause indicator to the originating ASP, or release the call to the originating ASP. This release with a specific cause indicator for the originating ASP should provide the tone or announcement. ASCs in agreement with the originating ASP and compliance to all applicable SS7 message sequences may choose to recognize specific release cause messages and connect tone or announcement. The ASC will return to the originating ASP, a suitable coded ACM message prior to connecting the call to a ASC tone or announcement. Properly coded release messages will be forwarded to the ASP at the completion of the tone and announcement application. All response message sequences will need to be within the tolerances defined in timing parameter "T-IAM" of ANSI T1.113. Customized announcements, such as automatic intercept for number changes, would have to be played by the terminating ASP. If there is not total SS7 connectivity in the terminating connection the terminating ASP may have to play all tones and announcements. If there is not SS7 connectivity in the originating access, the originating ASP may not be able to play tones and announcements.

An SS7 Cause Codes & Tones and Announcements document is included as Part III Attachment H.  This document provides a single source for definitions, application of cause codes with the associated treatment and the appropriate verbiage to be played to the customer where an announcement is required.

## Trouble Report Disposition

When trouble reports are being closed out between an Access Service Provider/Access Service Customer, whether they are using a mechanized system or a verbal notification, the disposition should be furnished by the company clearing the trouble, and the following information shall be provided:

The ASC/ASP should agree to provide the following information when closing a mutual trouble report:

- Circuit ID/telephone number

- Trouble Ticket Number (ASC/ASP number)

- Trouble Disposition (e.g., bad cable)

- Resolution details (e.g., cut to new cable)

- ASC will inform ASP if this trouble is measured.

- Referral time, returned time, No Access Time.

- If trouble ticket results in a service charge, the ASP will provide this info to the ASC

When there is a disagreement on the disposition, the parties engaged in the dispute shall document their respective positions, and the names of the individuals engaged in the dispute for audit purposes.  Escalations if necessary shall be in accordance with identified procedures.

If after a trouble has been cleared and either the ASP or ASC wishes to change the disposition, such changes shall be negotiated.

# TRUNK INSTALLATION

## Point of Presence (POP) Serving Multiple Switches

Where an Access Service Customer (ASC) has multiple switches served by one POP, a separate trunk group for each switch must be established from the ASP switch to the POP to accommodate SS7 trunk traffic. Each trunk group will require the unique Signaling Point Code (SPC) for each ASC switch and ASP switch. When an ASC has multiple switches connecting through a single POP or a single switch connecting to multiple POPs, separate trunk groups must be established using the unique Signaling Point Code of each ASC switch and ASP switch.

# TRUNK TROUBLE DETECTION RESPONSIBILITIES

It is recommended that continuity checks (COT) be performed by ASPs and ASCs on a one (1) out of eight (8) statistical basis. Because of different manufactures implementation of COT capabilities, this may have to be performed at either the trunk group level, or at the office level. If the COT must be performed at the trunk group level, then the one (1) out of eight (8) COT will only be performed on all access trunk groups. If the COT is designated at the office level, then the one (1) out of eight (8) requirement is performed on the entire office base. Between 4-wire switching offices, COT is performed on a loop basis, however, when one or both offices involved are 2-wire switches, each transmission direction is checked independently. As long as the continuity check is performed at recommended levels, a "killer" trunk condition should only occur if the trunk is looped.

NOTE: Where technology does not exist to facilitate meeting the above criteria, local negotiations should take place.

# SCREENING AND TRANSLATIONS

## Final Global Title Translations (FGTT)

Final Global Title Translations (FGTT) should be performed in the terminating network.  Interconnecting parties should discuss their routing and Gateway Screening of Network Management Messages between interconnected STPs to ensure that all appropriate messages can be routed in the presence of route failures.

In order to interconnect to a network which utilizes cluster routing, the NGIIF recommends that each network demonstrate that network management features are being provided to the other network, and conform to the following interworking rules:

- The interconnecting network should not ignore TFP, TFR, TFA,TCP, TCR, TCA, and signaling route set test messages, and shall respond, and/or send the appropriate RSx/RCx message if the above TFP/TFR, TCP/TCR  messages received are in conformance with ANSI Standards.

- Network elements performing cluster routing in receipt of a network management message should create and maintain a status listing of all members within the defined cluster to which it performs routing until appropriate allow messages have been associated with all such members.

- When the TFC message is sent, the message shall contain the full Point Code (PC) of the message Point Code of the Message Destination (DPC) and the affected Point Code (the route to which is in congestion).

- In the event of routing methodology changes the interconnected network should be notified by the company initiating the change, before implementing cluster routing.

- Member 000 should never be assigned for a cluster used for an End Office/Tandem /SCP point code, i.e. point codes of a signaling end point.  The cluster member code 000 is reserved for addressing signaling points that serve as a signaling transfer point.

- When performing any live network testing, a non-working cluster should be used to avoid network incidents due to misinterpretations of signaling protocols.

NOTE: Where technology does not exist to facilitate meeting the above criteria, local negotiations should take place.

## Translation Types

A uniform application/utilization of a numbering scheme will prolong the life of the resource.

The ANSI Standard (T1.112.3-1996, Annex A) specifies standard Translation Types (TTs) which should be used.  The standard also specifies multiple translation types (TTs ) for two applications (CLASS and LIDB) TTs 251 or 6; 253 or 2 should be used in accordance with the standard.  The following recommendations be considered when interconnecting TTs 251 or 6; 253 or 2  with another Service Provider:

- Translation Types being utilized by the ILEC should be considered for adoption by the newly established CLECs during local negotiations.

- In the event that translation types are already being used by the interconnecting CLEC that differ from the ILEC then the parties involved should engage in local negotiations to determine their numbering convention.

- In the event that a CLEC is interconnecting with multiple ILECs then the involved parties shall engage in local negotiations.

- Existing service Providers/Customers already utilizing specific Translation Types shall engage in local negotiations to determine what Translation Types should be utilized.

- Where existing service providers/service companies are already interconnected and are now proposing to provide  services new to the area, then local negotiations should take place to determine the Translation Type (TT) to be used.

## TCAP Transaction Looping

TCAP transaction looping can congest B links very quickly.  Several mechanisms are available (T1S1.6) to prevent such looping and should be implemented through bi-lateral agreements.   Two mechanisms, Gateway Screening and Translation-Type mapping loop-prevention, were proven through industry (NTC Phase 10) testing to prevent looping caused by incoming messages.

The NGIIF recommends the following:

For TCAP transactions, interconnected companies should utilize loop detection/prevention mechanisms bi-laterally.

Reference: T1S1.6 - Technical Requirements for Number Portability - Database and Global Title Translations.  (T1S1/98-174)

# Rules for Populating JIP

- JIP should be populated in the IAMs of all wireline and wireless originating calls where technically feasible.

- JIP should be populated with an NPA-NXX that is assigned in the LERG to the originating switch or MSC.

- The NGIIF does not recommend proposing that the JIP parameter be mandatory since calls missing any mandatory parameter will be aborted. However, the NGIIF strongly recommends that the JIP be populated on all calls where technologically possible.

- Where technically feasible if the originating switch or MSC serves multiple states/LATAs, then the switch should support multiple JIPs such that the JIP used for a given call can be populated with an NPA-NXX that is specific to both the switch as well as the state and LATA of the caller.

If the JIP cannot be populated at the state and LATA level, the JIP should be populated with an NPA-NXX specific to the originating switch or MSC where it is technically feasible.

- Where the originating switch cannot signal JIP it is desirable that the subsequent switch in the call path populate the JIP using a data fill default associated with the incoming route.  The value of the data fill item is an NPA-NXX associated with the originating switch or MSC and reflects its location.

- When call forwarding occurs, the forwarded from DN (Directory Number) field will be populated, the JIP will be changed to a JIP associated with the forwarded from DN and the new called DN will be inserted in the IAM.

- As per T1.TRQ2, the JIP should be reset when a new billable call leg is created.

It is recommended that the Gateway node be pre-positioned to support a set of configurable options for populating the JIP field in order to more quickly deploy the solution when agreement has been reached. These options include one value per Gateway, a separate value per IP source entering the Gateway or any other Jurisdiction Information like parameter carried in the SIP Invite message. In the event these values are necessary in the future, they can be stored in memory and administered by the operating company of the Gateway. The values could be any 6 digit values.

This recommendation only resolves the SS7 protocol requirements as specified in ATIS-1000113.2005.  The concerns regarding the generic usefulness of JIP for billing and other operational procedures remain unresolved.

# SS7 NETWORK SECURITY BASE GUIDELINES

This section specifies the minimum set of security features to be adopted by Access Service Providers and the Access Service Customers and is documented in Part III Attachment I.

SS7 network providers are responsible for ensuring the reliability and security of their own SS7 networks with respect to defending against the propagation of abnormal SS7 signaling messages when interconnected with other networks.  This responsibility should ensure protection against unexpected SS7 messages, SS7 messages with protocol errors, attempts at sabotage, or any other harmful conditions that may be propagated across interconnected SS7 networks.

It should be noted that SS7 network intermediate nodes generally examine those parts of incoming messages with respect to routing of the message.  The SS7 destination node examines additional information for the proper processing of the message, and this may include additional security considerations.  Examination of the content of every message routinely is not done, and may not be practical.  Various methods of protocol analyzation that further examine message content are available to detect and resolve troubles, but are generally utilized only on an exception basis.

A variety of processes and responsibilities intended to ensure reliability, network security, and risk minimization associated with SS7 network interconnection are outlined elsewhere in the document.

# SS7 SOFTWARE VALIDATION

Service providers and vendor/manufacturers have an obligation to their customers to provide the highest standard of error free software possible.  In light of this obligation the industry has developed a set of recommendations for the validation of software and is documented in Part III Attachment J.

# DUAL STP FAILURE PREVENTION PROCEDURES

The NGIIF recommends that each STP Owner/Operator have in place a written procedure to assist in the prevention of dual STP failure.  Part III Attachment K provides a minimum set of recommended guidelines to prevent dual STP failures.

# COMBINED NODE - MINIMUM SET OF GUIDELINES

## Architecture

Typical Combined Node Architectures are identified in the following two network diagrams:

Figure 3 - Combined Node Interconnection Architecture #1

Figure 4 - Combined Node Interconnection Architecture #2

## Routing And Configuration

Load Balancing of the interconnecting Links (A, B/D) is required as specified in Load Balance Tests in the NGIIF SS7 Reference Document –Part III (Attachment A - Test 1.27).

It is the responsibility of each network operator to send balanced traffic.  In situations where special translations and screening are required to achieve load balancing on traffic originating from the combined node, those translations are the responsibility of the combined node owner/operator.

## Network Management

Where Combined Nodes are utilized in an interconnected environment, the interconnected parties need to identify and resolve operational concerns (e.g., Load Balance)

It is preferred that a single point code be established for the switch portion of the combined node, and a different point code be established for the STP portion of that switch.

Functionality of the combined node must send and respond to Network Management Messages (TFP/TFC/TFR/etc.) in accordance with established NGIIF Procedures as found in the NGIIF Reference Document (Part III - Section 8. Screening and Translations)

## Diversity

The node should meet the established NGIIF Link Diversity guidelines. (Part III - Section 2 - Subsection E - Diversity)

## Testing

When interconnecting with a Combined Node, all applicable tests are referenced in the NGIIF Reference Document - Part III - Attachments A, B, C, D, E, and F should be performed.

# Footnotes

A (signaling) link set is a set of signaling links directly connecting two signaling nodes.